Digital LCD Infrared Medical Baby Body Ear Forehead Safe Temperature Thermometer

4 in 1 Ear Thermometer IR Infra-Red Digital LCD In-Ear Temperature For babies&kids

4 In 1 Digital LCD Adult Baby Forehead Ear Ambient Clock IR Infrared Thermometer Temperature

LCD Infrared Digital baby Thermometer 4 in 1 Ear for Baby Child electronic thermometer

Main Function

4 in 1 Ear/Forehead/Ambient/Surface

Last Reading Memory

Auto Shut-off

Measurement: C / F

Range and Precision

Body :+/- 2C @ 35.5C – 42.0C (+/-0.4F @ 95.9F – 107.6F)

     +/-3C Below 35.5C or over 42.0C

     +/- 0.5F Below 95.9F or over 107.6F

Surface Temp: +/-1.0C (0.00C -100C)

Ambient Temp: +/- 1.0C (0.00C – 100C)

Display:Liquid Crystal Display, Resolution 0.1C (0.1F)

Response Time:Only 1 Sec

Material: Anti Bacterial ABS

Specification

Battery:One CR2032 Replaceable Button Battery Included

Battery Life:Stand By About 6 months or 300 Uses

Unit Size:113 x 34 25MM (L X W X H)

Product Weight:Approx. 40gms including Battery

Box Dimensions:16 x 6 x 4.5 CM

Package Content

1 x 4 in 1 Digital Thermometer

1 x Thermometer Stand 

